## Investment_Cost
Technology system | Usage | Capacity | Unit | Capital costs | Currency | Lifespan (years) | Year | Source
Septic tank | sanitation |  |  | 1500 - 2000 | USD | 25 | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
Waste Stabilisation Ponds - Densu Delta STP | waste water treatment | 6000 | m3/day | 18000000 | USD |  | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
Waste Stabilisation Ponds - University of Legon STP | waste water treatment | 6400 | m3/day | 6700000 | USD |  | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
Public toilet | sanitation |  |  | 67482.9932 | USD |  | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
House connecting sewerage network | sanitation network |  |  | 843.6902 | USD | 40 | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
KVIP | sanitation |  |  | 160 | USD | 10 | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
ASIP project toilet ( 2 seats) | sanitation |  |  | 6748 | USD | 30 | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
Private Urine Diverting Toilet | sanitation |  |  | 750 | USD | 10 | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
Private Urinal | sanitation |  |  | 525 | USD | 10 | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
Faecal Sludge drying beds (excl. discharge/screen/percolate treatment) | faecal sludge treatment | 200 | m3/year | 2400 | USD |  | 2002 | Steiner, M. & Strauss, M., 2002. Economic Aspects of Low-cost Faecal Sludge Management. , (October). | 200 m3 annually FS with 20 g/litre TS content at a site of 27 m2
Teshie/TEMA Waste Stabilisation ponds | waste water treatment | 30000 | m3/year | 75000 | USD |  | 1996 | Steiner, M. & Strauss, M., 2002. Economic Aspects of Low-cost Faecal Sludge Management. , (October).
Buobai Kumasi Waste Stabilisation ponds | waste water treatment | 60000 | m3/year | 420000 | USD |  | 2002 | Steiner, M. & Strauss, M., 2002. Economic Aspects of Low-cost Faecal Sludge Management. , (October).
Borehole with handpump | Source water treatment | 2190 | m3/year | 13129 | USD | 25 | 2008 | Nyarko, K.B., 2010. Cost of delivering water services in rural areas and small towns in Ghana. In IRC Symposium 2010: Pumps, Pipes and Promises. IRC.
Borehole with standpipes/network | Source water treatment | 2190 | m3/year | 441390 | USD | 25 | 2008 | Nyarko, K.B., 2010. Cost of delivering water services in rural areas and small towns in Ghana. In IRC Symposium 2010: Pumps, Pipes and Promises. IRC.
Standpipe connection with pipe per connection | Potable water distribution | 1 | connection | 64.3 | USD |  | 2013 | The World Bank, 2013. Project Appraisal Document for the Greater Accra Metropolitan Area Sanitation and Water Project,
private connection with pipe | Potable water distribution | 1 | connection | 64.3 | USD |  | 2013 | The World Bank, 2013. Project Appraisal Document for the Greater Accra Metropolitan Area Sanitation and Water Project,
Tanker water | Potable water distribution | 34 | litres | 350 | GHc |  | 2002 | Uusitalo, K., 2002. An Evaluation of Urban Water Systems using Environmental Sustainability Indicators: A case study in Adenta, Ghana. Chalmers University of Technology.
Bottled water | Potable water distribution | 30 | bottles | 4000 | GHc |  | 2002 | Uusitalo, K., 2002. An Evaluation of Urban Water Systems using Environmental Sustainability Indicators: A case study in Adenta, Ghana. Chalmers University of Technology.
Polymer separation and drying excl. liquid treatment | faecal sludge treatment | 93900 | m3/year | 650000 | USD | 10 | 2013 | Nikiema, J., Cofie, O. & Impraim, R., 2014. Resource Recovery and Reuse Series 2: Technological Options for Safe Resource Recovery from Fecal Sludge,
Polymer separation and drying excl. liquid treatment | faecal sludge treatment | 187800 | m3/year | 1000000 | USD | 10 | 2013 | Nikiema, J., Cofie, O. & Impraim, R., 2014. Resource Recovery and Reuse Series 2: Technological Options for Safe Resource Recovery from Fecal Sludge,
Polymer separation and drying excl. liquid treatment | faecal sludge treatment | 438000 | m3/year | 3990000 | USD | 10 | 2013 | Nikiema, J., Cofie, O. & Impraim, R., 2014. Resource Recovery and Reuse Series 2: Technological Options for Safe Resource Recovery from Fecal Sludge,
Polymer separation and drying incl. liquid treatment | faecal sludge treatment | 438000 | m3/year | 4340000 | USD | 10 | 2013 | Nikiema, J., Cofie, O. & Impraim, R., 2014. Resource Recovery and Reuse Series 2: Technological Options for Safe Resource Recovery from Fecal Sludge,
Household pit latrine | sanitation |  |  | 488 | USD |  | 2004 | Makthar, D. et al., 2013. The World Bank: Implementation completion and results report for the Second Urban Environmental Sanitation project,
Public 20 seater toilet + septic tank | sanitation |  |  | 23832 | USD |  | 2004 | Makthar, D. et al., 2013. The World Bank: Implementation completion and results report for the Second Urban Environmental Sanitation project,
School 12 seater toilet + septic tank | sanitation |  |  | 10540 | USD |  | 2004 | Makthar, D. et al., 2013. The World Bank: Implementation completion and results report for the Second Urban Environmental Sanitation project,
Anaerobic digesters | faecal sludge treatment | 840 | m3/day | 8900000 | euro |  | 2011 | Nordic Development Fund, 2011. Ghana Greater Accra Anaerobic Digesters Project: Appraisal Report,
Anaerobic digesters | faecal sludge treatment | 306600 | m3/year | 12371000 | USD |  | 2011 | Nordic Development Fund, 2011. Ghana Greater Accra Anaerobic Digesters Project: Appraisal Report,
Conventional Source Water Treatment | Source water treatment | 186000 | m3/day | 200000000 | USD |  | 2008 | Sahl, M. & Westerblom, J., 2008. A proposal for improving the water supply in South Teshie, Ghana: Applying Sea Water Reverse Osmosis. Royal Institute of Technology, Stockholm Sweden.
Desalination plant | Source water treatment | 900 | m3/day | 1392857 | USD |  | 2008 | Sahl, M. & Westerblom, J., 2008. A proposal for improving the water supply in South Teshie, Ghana: Applying Sea Water Reverse Osmosis. Royal Institute of Technology, Stockholm Sweden.
vacuum tanker | waste water treatment | 10 | m3 | 80000 | USD |  | 2001 | Sharpe, N. S., 2010. Develoment of a Novel Plan for Emptying Pit Latrines in urban Slums. MSc. Thesis University of Cambridge
polymer separation and drying | separation and drying | 224640 | m3/year | 2800000 | USD | 15 | 2015 | DANIDA, Danish Ministry of Foreign Affairs. 2015. The Sludge Treatment Project at Lavender Hill, Accra,Ghana
Desalination plant | Source water treatment | 60000 | m3/day | 126000000 | USD |  | 2012 | Cambrige Economic Policy Associates. 2015. Mobilising finance for infrastructure: Ghana Country Case Study.
Conventional Source Water Treatment Kpong | Source water treatment | 186000 | m3/day | 273000000 | USD |  | 2014 | China Gezhouba Grop. 2015. Kpong Water Supply Expansion Project in Ghana praised by the employer. http://www.cggc.cc/2015-08/07/content_21531910.htm
Conventional Source Water Treatment Asutuare |  | 200000 | m3/day | 340000000 | euro |  | 2015 | Ghana Water Company Limited. 2015. Planned Projects. http://www.gwcl.com.gh/pgs/plannedprojects.php
Conventional Source Water Treatment Asutuare |  | 200000 | m3/day | 309090909.0909 | USD |  | 2015 | Ghana Water Company Limited. 2015. Planned Projects. http://www.gwcl.com.gh/pgs/plannedprojects.php
Jamestown Conventional UASB Waste Water Treatment | waste water treatment | 16200 | m3/day | 33233200 | USD |  | 2000 | https://uenergy.wordpress.com/2010/11/23/jamestown-waste-water-treatment-plant-accra/
Aerated Lagoon | waste water treatment | 1 | m3 | 0.0896 | USD |  | 2012 | http://www.waterbiotech.eu/downloads/Public_Downloads/d3_9_cost_readjustment_report.pdf
Bottled water plant | water bottling | 14400 | m3/year | 1982667.7893 | USD |  | 2004 | http://www.ethioembassy.org.uk/trade_and_investment/Selected%20Investment%20Project%20Profiles/Services/Mineral%20Water/Mineral%20Water.pdf
Aerated septic system |  | 12275 | m3/year | 26160 | USD |  |  | http://www.concretetanks.co.nz/files/pdfs/on-site-wastewater-systems.pdf
Aerated sewage treatment system |  | 8760000 | m3/year | 4671201.8141 | USD |  | 2011 | http://www.moef.nic.in/sites/default/files/ngrba/Barrackporememo.pdf
Aerated aerobic treatment system |  | 2737.5 | m3/year | 52381.98 | USD |  | 2015 | http://www.ukseptictanks.co.uk/sewage-treatment-plants/graf-klaro-50
Technology system & activity | Maintenance costs | Currency | Capacity | Unit | Year | Source
ASIP toilet (2 seats) | 202 | USD |  |  | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
Private Urine diversifying toilets | 100 | USD |  |  | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
Private urinals | 100 | USD |  |  | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
Borehole with handpump annual maintenance | 1200 | USD |  |  | 2008 | Nyarko, K.B., 2010. Cost of delivering water services in rural areas and small towns in Ghana. In IRC Symposium 2010: Pumps, Pipes and Promises. IRC.
Borehole with standpipes/network annual maintenance | 6600 | USD |  |  | 2008 | Nyarko, K.B., 2010. Cost of delivering water services in rural areas and small towns in Ghana. In IRC Symposium 2010: Pumps, Pipes and Promises. IRC.
Conventional water treatment Accra-Tema | 3272998.8 | USD | 448356 | m3/day | 2012 | Dwumfour-asare, B., Nyarko, K.B. & Quaye, S.A., 2014. The cost of urban water service delivery in Ghana : the case of the Kumasi and Accra-Tema water systems. Ghanaian Journal of Economics, 2(December), pp.119–134.
Conventional Water Treatment - Kumasi | 962910.15 | USD | 87937 | m3/day | 2012 | Dwumfour-asare, B., Nyarko, K.B. & Quaye, S.A., 2014. The cost of urban water service delivery in Ghana : the case of the Kumasi and Accra-Tema water systems. Ghanaian Journal of Economics, 2(December), pp.119–134.
| aerobic system costs |  |  |  | UASB system costs
| 6.21 | MJ/m3 | electricity |  | 1.07 | MJ/m3 | electricity
| 1.725 | kWH/m3 | electricity |  | 0.29722 | kWH/m3 | electricity
| 0.64 | GHc/kWh |  |  | 1.02 | GHc/kWh
| 1.104 | GHc / m3 |  |  | 0.30317 | GHc / m3
| 0.5 | hours / m3 |  |  | 0.02 | hours / m3
| 6 | GHc / hour |  |  | 8 | GHc / hour
| 4.104 | GHc / m3 |  |  | 0.46317 | GHc / m3
| 1.2142 | USD / m3 |  |  | 0.13703 | USD / m3

## Operational_Cost
Technology system & activity | Technology | Operational costs | Currency | Capacity | Unit | Year | Source
Septic tank emptying | Septic tank | 60-80 | USD | 4 | m3 | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
KVIP emptying | KVIP | 60-80 | USD | 4 | m3 | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
cesspit emptier truck discharge at Lavender hill | Cesspit Truck | 12 | USD | 7000 | litres | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
Cleaning of bucket latrines | Bucket latrine | 2 | USD per month |  |  | 1997 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
Cleaning of bucket latrines | Bucket latrine | 0.5 | USD |  |  | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
ASIP project toilet ( 2 seats) use per year | ASIP toilet | 850 | USD |  |  | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
Private Urine Diverting Toilet use per year | Urine Diverting toilet | 50 | USD |  |  | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
Private Urinal use per year | Urinal | 50 | USD |  |  | 2007 | Stoll, N., 2008. Potential Costs and Revenues of Ecological Sanitation in Accra (Ghana). University of Hamburg.
Vacuum tanker pit emptying | Cesspit Truck | 46 | GHC | 7000 | litres | 2009 | Boot, N.L.D. & Scott, R.E., 2009. Faecal sludge in Accra, Ghana: Problems of urban provision. Water Science and Technology, 60(3), pp.623–631.
Vaccum tanker septic tank emptying | Cesspit Truck | 52 | GHC | 7000 | litres | 2009 | Boot, N.L.D. & Scott, R.E., 2009. Faecal sludge in Accra, Ghana: Problems of urban provision. Water Science and Technology, 60(3), pp.623–631.
Vacuum tanker pit emptying | Cesspit Truck | 50 | USD | 7000 | litres | 2009 | Boot, N.L.D. & Scott, R.E., 2009. Faecal sludge in Accra, Ghana: Problems of urban provision. Water Science and Technology, 60(3), pp.623–631.
Vacuum tanker septic tank emptying | Cesspit Truck | 57 | USD | 7000 | litres | 2009 | Boot, N.L.D. & Scott, R.E., 2009. Faecal sludge in Accra, Ghana: Problems of urban provision. Water Science and Technology, 60(3), pp.623–631.
Emptying a bucket latrine fee per month | Bucket latrine | 10 | GHC |  |  | 2009 | Boot, N.L.D. & Scott, R.E., 2009. Faecal sludge in Accra, Ghana: Problems of urban provision. Water Science and Technology, 60(3), pp.623–631.
Disposal charge for vacuum tankers at tipping point | Cesspit Truck | 12 | GHC |  |  | 2009 | Boot, N.L.D. & Scott, R.E., 2009. Faecal sludge in Accra, Ghana: Problems of urban provision. Water Science and Technology, 60(3), pp.623–631.
Emptying a bucket latrine fee per month | Bucket latrine | 11 | USD |  |  | 2009 | Boot, N.L.D. & Scott, R.E., 2009. Faecal sludge in Accra, Ghana: Problems of urban provision. Water Science and Technology, 60(3), pp.623–631.
Disposal charge for vacuum tankers at tipping point | Cesspit Truck | 13 | USD |  |  | 2009 | Boot, N.L.D. & Scott, R.E., 2009. Faecal sludge in Accra, Ghana: Problems of urban provision. Water Science and Technology, 60(3), pp.623–631.
Faecal Sludge drying beds annual O&M | Sludge Drying Bed | 150 | USD | 200 | m3 | 2002 | Steiner, M. & Strauss, M., 2002. Economic Aspects of Low-cost Faecal Sludge Management. , (October).
Teshie/TEMA Waste Stabilisation ponds annual O&M | WSP | 7800 | USD | 30000 | m3 | 2002 | Steiner, M. & Strauss, M., 2002. Economic Aspects of Low-cost Faecal Sludge Management. , (October).
Buobai Kumasi Waste Stabilisation ponds annual O&M | WSP | 31575 | USD | 60000 | m3 | 2002 | Steiner, M. & Strauss, M., 2002. Economic Aspects of Low-cost Faecal Sludge Management. , (October).
Borehole with handpump annual operation | Borehole | 36 | USD | 2190 | m3 | 2008 | Nyarko, K.B., 2010. Cost of delivering water services in rural areas and small towns in Ghana. In IRC Symposium 2010: Pumps, Pipes and Promises. IRC.
Borehole with standpipes/network annual operation | Borehole | 12000 | USD | 2190 | m3 | 2008 | Nyarko, K.B., 2010. Cost of delivering water services in rural areas and small towns in Ghana. In IRC Symposium 2010: Pumps, Pipes and Promises. IRC.
Conventional water treatment Accra-Tema | CWT | 28700000 | USD | 448356 | m3/day | 2012 | Dwumfour-asare, B., Nyarko, K.B. & Quaye, S.A., 2014. The cost of urban water service delivery in Ghana : the case of the Kumasi and Accra-Tema water systems. Ghanaian Journal of Economics, 2(December), pp.119–134.
Conventional Water Treatment - Kumasi | CWT | 8700000 | USD | 87937 | m3/day | 2012 | Dwumfour-asare, B., Nyarko, K.B. & Quaye, S.A., 2014. The cost of urban water service delivery in Ghana : the case of the Kumasi and Accra-Tema water systems. Ghanaian Journal of Economics, 2(December), pp.119–134.
Single desludging of pit latrines |  | 112.5 | GHc | 10 | m3 | 2008 | Antwi-Agyei, P., 2009. 018530 - SWITCH Sustainable Water Management in the City of the Future: Faecal Sludge managemen the case of Madina,
urinal use |  | 10 | Gp |  |  | 2008 | Antwi-Agyei, P., 2009. 018530 - SWITCH Sustainable Water Management in the City of the Future: Faecal Sludge managemen the case of Madina,
urinal use with toilet paper |  | 20 | Gp |  |  | 2008 | Antwi-Agyei, P., 2009. 018530 - SWITCH Sustainable Water Management in the City of the Future: Faecal Sludge managemen the case of Madina,
Operational costs of 34 water closet public toilet |  | 10224 | GHc |  |  | 2008 | Antwi-Agyei, P., 2009. 018530 - SWITCH Sustainable Water Management in the City of the Future: Faecal Sludge managemen the case of Madina,
Polymer separation and drying excl. liquid treatment | separation and drying | 150000 | USD | 93900 | m3/year | 2013 | Nikiema, J., Cofie, O. & Impraim, R., 2014. Resource Recovery and Reuse Series 2: Technological Options for Safe Resource Recovery from Fecal Sludge,
Polymer separation and drying excl. liquid treatment | separation and drying | 250000 | USD | 187800 | m3/year | 2013 | Nikiema, J., Cofie, O. & Impraim, R., 2014. Resource Recovery and Reuse Series 2: Technological Options for Safe Resource Recovery from Fecal Sludge,
Polymer separation and drying excl. liquid treatment | separation and drying | 700000 | USD | 438000 | m3/year | 2013 | Nikiema, J., Cofie, O. & Impraim, R., 2014. Resource Recovery and Reuse Series 2: Technological Options for Safe Resource Recovery from Fecal Sludge,
Polymer separation and drying incl. liquid treatment | separation and drying | 730000 | USD | 438000 | m3/year | 2013 | Nikiema, J., Cofie, O. & Impraim, R., 2014. Resource Recovery and Reuse Series 2: Technological Options for Safe Resource Recovery from Fecal Sludge,
Anaerobic digesters | AD | 13395 | euro | 306600 | m3/year | 2011 | Nordic Development Fund, 2011. Ghana Greater Accra Anaerobic Digesters Project: Appraisal Report,
Anaerobic digesters | AD | 18619.05 | USD | 306600 | m3/year | 2011 | Nordic Development Fund, 2011. Ghana Greater Accra Anaerobic Digesters Project: Appraisal Report,
Water Distribution Energy Costs | Pipe distribution | 3363356 | GHc | 39519680.4 | m3/year | 2008 | TERI, 2009. Presentation from the 2009 World Water Week in Stockholm: Energy Audit Findings at Water Utilities. , p.25.
Water Distribution Energy Costs | Pipe distribution | 2802796 | USD | 39519680.4 | m3/year | 2008 | TERI, 2009. Presentation from the 2009 World Water Week in Stockholm: Energy Audit Findings at Water Utilities. , p.25.
Desalination plant operation | desalination | 307698 | USD | 900 | m3/day | 2008 | Sahl, M. & Westerblom, J., 2008. A proposal for improving the water supply in South Teshie, Ghana: Applying Sea Water Reverse Osmosis. Royal Institute of Technology, Stockholm Sweden.
polymer separation and drying | separation and drying | 510000 | USD | 224640 | m3/year | 2015 | DANIDA, Danish Ministry of Foreign Affairs. 2015. The Sludge Treatment Project at Lavender Hill, Accra,Ghana
Aerated lagoon |  | 0.128 | USD | 1 | m3 | 2012 | http://www.waterbiotech.eu/downloads/Public_Downloads/d3_9_cost_readjustment_report.pdf
Bottled water plant | water bottling | 3476786.1439 | USD | 14400 | m3/year | 2004 | http://www.ethioembassy.org.uk/trade_and_investment/Selected%20Investment%20Project%20Profiles/Services/Mineral%20Water/Mineral%20Water.pdf
Anaerobic digesters |  | 5520 | USD |  | m3/year |  | http://drum.lib.umd.edu/bitstream/handle/1903/12376/Klavon_umd_0117N_12835.pdf;jsessionid=9EB35543009F624D2D267E0E91591E96?sequence=1
Aerobic waste-water treatment - BioKube Jupiter

## US CPI
| 1982-1984 = 100 | 2014 = 100
1980 | 82.4 | 2.873
1981 | 90.9 | 2.6044
1982 | 96.5 | 2.4532
1983 | 99.6 | 2.3769
1984 | 103.9 | 2.2785
1985 | 107.6 | 2.2001
1986 | 109.6 | 2.16
1987 | 113.6 | 2.0839
1988 | 118.3 | 2.0011
1989 | 124 | 1.9092
1990 | 130.7 | 1.8113
1991 | 136.2 | 1.7381
1992 | 140.3 | 1.6874
1993 | 144.5 | 1.6383
1994 | 148.2 | 1.5974
1995 | 152.4 | 1.5534
1996 | 156.9 | 1.5088
1997 | 160.5 | 1.475
1998 | 163 | 1.4524
1999 | 166.6 | 1.421
2000 | 172.2 | 1.3748
2001 | 177.1 | 1.3367
2002 | 179.9 | 1.3159
2003 | 184 | 1.2866
2004 | 188.9 | 1.2532
2005 | 195.3 | 1.2122
2006 | 201.6 | 1.1743
2007 | 207.342 | 1.1418
2008 | 215.303 | 1.0995
2009 | 214.537 | 1.1035
2010 | 218.056 | 1.0857
2011 | 224.939 | 1.0524
2012 | 229.594 | 1.0311
2013 | 232.957 | 1.0162
2014 | 236.736 | 1

## GHC to USD
| https://www.cia.gov/library/publications/the-world-factbook/fields/2076.html | https://www.focus-economics.com/country-indicator/ghana/exchange-rate
| GHC per US DOLLAR | GHC per US DOLLAR
2015 | 3.73 | 3.73
2014 | 2.9 | 3.19
2013 | 2.9 | 2.37
2012 | 1.8 | 1.9
2011 | 1.51 | 1.64
2010 |  | 1.49
2009 |  | 1.47
2008 |  | 1.2
2007 |  | 0.96